Henderson/Nina Water System

1394 Henderson Hwy.

Henderson, Louisiana 70517

Office: 337-228-7458	     Fax: 337-228-7686

FLUSHING WATER LINES AT HOME

If you are experiencing cloudy or discolored water at home, check with our office to see if there is a problem in your area. If the system is not experiencing any problems, we recommend you flush out the cold water lines inside and outside your home. This procedure has been proven to help maintain fresh clean water in your lines.

1 – Begin by opening ALL of the COLD water outlets inside and outside of your home.

2 – Find the outlet with the highest flow rate. Using a white container, monitor the water until it is clear and close it off.

3 – Find the next outlet with the highest flow rate and monitor it until it is clear and close it off.

4 – Continue this procedure to the last outlet.

You can expect to use approximately 100 gallons of water at a cost of 35 cents.